## Slide 1
REM
ED
1

## Slide 2
Cardiovascular Health Monitoring System
Under Supervision of Dr. Mahmoud Hanafy
2

## Slide 3
Presented
by
Mina Moheb Sadek
Eman Gamal Hussin
Noor Allah Mohamed
Hala Abdeen Mostafa
Marawan Abd Elsalam
Ahmed Khaled EL Attar
202000557
202000135
202000119
202001392
201900086
201700264
3

## Slide 4
Agenda
1)INTRODUCTION
2)HARDWARE
3)MOBILE APPLICATION
4)AI
5)API
6)FUTURE WORK & CONCLUSION
4

## Slide 5
5

## Slide 6
Our Triple Goal
EEE
6

## Slide 7
Our
Goals
Enhance Medical
Consultaions
Empower Users and
reduse Their Hospital visits
Early Detection and Proactive intervention
7

## Slide 8
8

## Slide 9
9
PURPOSE:
MEASURES HUMAN BODY TEMPERATURE.
HOW IT WORKS:
  ANALOG SENSOR THAT OUTPUTS VOLTAGE LINEARLY PROPORTIONAL TO TEMPERATURE.
WHY IT'S USED:
  LOW-COST SENSOR.
  OUTPUTS ANALOG VOLTAGE EASILY READABLE BY ARDUINO.
HARDWARE
LM 35 Sensor

## Slide 10
10
PURPOSE:
A DIGITAL SENSOR THAT MEASURES SPO₂ AND HEART RATE.
HOW IT WORKS:
  COMBINES TWO LEDS (RED AND IR).
  MEASURES LIGHT ABSORPTION BY BLOOD.
WHY IT'S USED:
  IT GIVES QUICK RESULTS AND SENDS THE DATA DIRECTLY TO THE ARDUINO.
  IT’S SMALL, EASY TO USE, AND WORKS WITH JUST A FINGERTIP.
HARDWARE
MAX30100 Pulse Oximeter

## Slide 11
11
PURPOSE:
CAPTURES ELECTRICAL SIGNALS FROM THE HEART.
HOW IT WORKS:
  USES ELECTRODES TO DETECT BIOELECTRICAL IMPULSES.
  OUTPUTS ANALOG ECG SIGNAL WAVEFORM.
WHY IT'S USED:
  CRITICAL FOR MONITORING CARDIAC HEALTH.
HARDWARE
ECG Sensor

## Slide 12
12
PURPOSE:
VISUAL DISPLAY OF REAL-TIME HEALTH DATA.
HOW IT WORKS:
  RECEIVES DATA FROM ARDUINO.
  DISPLAYS TEMPERATURE, ECG WAVEFORM, SPO₂ READINGS.
WHY IT'S USED:
  IMMEDIATE FEEDBACK ON HEALTH DATA.
HARDWARE
TFT LCD Display

## Slide 13
13
PURPOSE:
MAIN MICROCONTROLLER (BRAIN OF THE DEVICE).
HOW IT WORKS:
  IT READS DATA FROM THE SENSORS (LIKE TEMPERATURE, ECG, AND BLOOD OXYGEN).
  IT PROCESSES AND SENDS THE DATA TO THE DISPLAY.
WHY IT'S USED:
  LOW-COST MICROCONTROLLER.
  EASY TO PROGRAM.
HARDWARE
Arduino Uno

## Slide 14
14
PURPOSE:
COMPACT CONTROLLER FOR DISPLAY CONTROL.
HOW IT WORKS:
  MANAGE TFT DISPLAY OR COORDINATE BETWEEN TWO UNOS.
WHY IT'S USED:
  SMALL FORM FACTOR.
  EFFICIENT FOR LIGHTWEIGHT, DISPLAY-FOCUSED TASKS.
HARDWARE
Arduino Nano

## Slide 15
15
DATA FLOW

## Slide 16
16
REM
ED

## Slide 17
17

## Slide 18
18

## Slide 19
19

## Slide 20
20

## Slide 21
21

## Slide 22
22

## Slide 23
23

## Slide 24
24

## Slide 25
25
USING:
ARRHYTHIMA CLASSIFICATION
CONVOLUTIONAL DENOISING AUTOENCODERS

## Slide 26
26
  OBJECTIVE: PREDICT A LABEL
OR CATEGORY FOR AN INPUT.
  METHOD: USE HISTORICAL DATA THAT HAS KNOWN (LABELED) OUTCOMES.
CLASSIFICATION

## Slide 27
27
  OBJECTIVE: ENHANCE ECG SIGNAL QUALITY BY REMOVING NOISE.
  METHOD: USE MODELS THAT DENOISE SIGNALS, LEADING TO IMPROVED HEARTBEAT CLASSIFICATION ACCURACY.
CDAES

## Slide 28
28
  OBJECTIVE & METHOD: USES CONVOLUTIONAL LAYERS TO DETECT PATTERNS
CNN

## Slide 29
29
  OBJECTIVE: PERFORM DIMENSIONALITY REDUCTION AND DATA RECONSTRUCTION.
  METHOD:
USE AN ENCODER TO COMPRESS INPUT.
USE A DECODER TO RECONSTRUCT THE ORIGINAL DATA FROM .
AUTOENCODER

## Slide 30
App
REM
ED
Hardware
30

## Slide 31
Components | Quantity | Price(EGP) | Total cost
LM 35 | 1 | 100-230 | 100-230
O2 MAX30100 | 1 | 300-600 | 300-600
ECG kit | 1 | 640-1000 | 640-1000
Arduino UNO | 1-2 | 540-750 | 540-1500
Arduino nano | 1 | 375-450 | 375-450
LCD | 1 | 330-600 | 330-600
Hardware SubTotal |  |  | 2285-4380
Budget - £E-
31

## Slide 32
32
FUTURE WORK

## Slide 33
33
PCB

## Slide 34
34
WI-FI MODULE

## Slide 35
35
BATTERY

## Slide 36
36
MULTILINGUAL

## Slide 37
37
APP PUBLISHING

## Slide 38
38
CONCLUSION
_DESIGN AND IMPLEMENTATION OF A HEALTH MONITORING KIT
_REAL-TIME DATA MONITORING
_FOLLOW-UP FEATURES
_SCHEDULE MEDICAL APPOINTMENTS
_AI DETECTION

## Slide 39
Thank you
39